In order to offer you the optimal solution, please fill in and send us the following questionnaire. Thank you in advance for your interest!

QUESTIONNAIRE FOR DETERMINING AND DIMENSIONING THE GREASE SEPARATOR

| NAME OF THE SUBJECT: |  |
| --- | --- |
| CONTACT PERSON: |  |
| ADDRESS: |  |
| CONTACT PHONE: |  |
| E-MAIL: |  |
| PERSONAL ID. NO.: |  |

|  | Type of kitchen (hotel, canteen, restaurant,...): ………………………………………………………………………………………………………………………………………. |  |
| --- | --- | --- |
|  | Type and number of kitchen equipment. ………………………………………………………………………………………………………………………………………. |  |
|  | Monthly average of meals per day |  |
|  | Number of taps and their diameter |  |
|  | Daily water consumption (m3) |  |
|  | Maximum consumption of water per hour (m3/h) |  |
|  | Is sanitary water outlet separated from kitchen wastewater? |  |
|  | Amount of kitchen wastewater (m3/day) |  |
|  | Amount of sanitary wastewater (m3/day) |  |
|  | Average temperature of wastewater (ºC) |  |
|  | Recipient of the discharged waste water (river, sewage,…) |  |
|  | Is there already some kind of wastewater treatment, and which type is it? |  |
|  | Existing facilities suitable for mounting the cleaner (min. temp. +8ºC) Dimensions: |  |
|  | What are the ideas, solutions for the treatment or disposal of sludge? .................................................................................................................................................................................................................................................. |  |
|  | Special remarks, requests: ............................................................................................................................... |  |